## start here
TopSpin version | 3.x
bf1 | 700.18 | MHz
bf2 | 176.0604 | MHz
bf3 | 70.9486 | MHz
1H
90 pulse | 10.88 | μs (p1) | -8.3 | dB (pl1)
TOCSY mixing | 25 | μs (p6) | -1.0738 | dB (pl10)
decouple | 35 | μs (p26,pcpd1) | 1.8488 | dB (pl19)
Squa100.1000 | 1000 | μs (p11) | 30.9674 | dB (pl11)
Sinc1.1000 | 1000 | μs (p11) | 26.3683 | dB (sp1)
Eburp1.100 | 5000 | μs (p11) | 21.4805 | dB (sp1)
13C
90 pulse | 15 | μs (p3) | -18.8 | dB (pl2)
decouple | 55 | μs (pcpd2) | -7.5146 | dB (pl12)
TOCSY mixing | 25 | μs (p9) | -14.363 | dB (pl15)
Crp60,0.5,20.1 | 500 | μs (p8,p14) | -14.1627 | dB (sp13,sp3)
Crp60comp.4 | 2000 | μs (p24) | -14.1627 | dB (sp7)
G4.256 | 352 | μs (p13) | -16.8127 | dB (sp2,sp8)
Q3.1000 | 220 | μs (p14) | -17.8869 | dB (sp3,sp5,sp7)
Q3.1000 | 1000 | μs (p24) | -4.7353 | dB (sp9)
15N
90 pulse | 46 | μs (p21) | -18.8 | dB (pl3)
decouple | 170 | μs (pcpd3) | -7.4462 | dB (pl16)
19F
90 pulse | 10 | μs (p1) | -10 | dB (pl1)
1H | 4.7 | ppm | 12 | ppm (sw)
13C aliphatic | 38 | ppm | 70 | ppm (sw)
13C aliphatic (aliased) | 25 | ppm | 42 | ppm (sw)
13C aromatic | 125 | ppm | 24 | ppm (sw)
13Cα | 53.5 | ppm (cnst22) | 28 | ppm (sw)
13Cα+13Cβ | 41 | ppm (cnst23) | 64 | ppm (sw)
13CO | 174.5 | ppm (cnst21) | 10 | ppm (sw)
15N | 118 | ppm | 34 | ppm (sw)
19F | -45 | ppm | 20 | ppm (sw)

## 3D experiments
| assign3d | experiment name | pulse program | TD | ns | o2p |  | cnst21 [CO] | cnst22 [CA] | cnst23 [(CA+AB)/2] | cnst24 [CB] | cnst30 [aromatic]
backbone | 1 | excitation sculpting | zgesgp | 8k | 8
| 2 | 1H-15N HSQC | ks_hsqcetfpf3gpsi2 | 1k x 256 | 4 | (CA+CO)/2 | ~113 ppm
| 3 | HNCO | ks_hncogp3d | 1k x 48 x 48 | 4 | CO | ~174 ppm | = o2p | ~54 ppm
| 4 | HN(CA)CO | ks_hncacogp3d | 1k x 48 x 48 | 8 | CO | ~174 ppm | = o2p | ~54 ppm
| 5 | HN(CO)CA | ks_hncocagp3d | 1k x 48 x 64 | 4 | CA | ~54 ppm | ~174 ppm | = o2p
| 6 | HNCA | ks_hncagp3d | 1k x 48 x 64 | 4 | CA | ~54 ppm | ~174 ppm | = o2p
| 7 | CBCA(CO)NH | ks_cbcaconhgp3d | 1k x 48 x 80 | 8 | (CA+CB)/2 | ~41 ppm | ~174 ppm | ~54 ppm | = o2p
| 8 | HNCACB | ks_hncacbgp3d | 1k x 48 x 80 | 8 | (CA+CB)/2 | ~41 ppm | ~174 ppm |  | = o2p
| 9 | (H)CC(CO)NH | ks_hccconhgp3d3 | 1k x 48 x 80 | 8 | (CA+CB)/2 | ~41 ppm | ~174 ppm | ~54 ppm | = o2p
| 10 | 1H-15N NOESY-HSQC | ks_noesyhsqcf3gpsi3d | 1k x 48 x 128 | 8 | (CA+CO)/2 | ~113 ppm
aliphatic | 11 | 1H-13C CT-HSQC (aliphatic) | ks_hsqcctetgpsp | 1k x 256 | 4 | aliphatic | ~38 ppm | ~174 ppm
| 12 | 1H-13C CT-HSQC (aliphatic) aliasing | ks_hsqcctetgpsp | 1k x 128 | 4 | aliased aliphatic | ~25 ppm | ~174 ppm
| 13 | 1H-13C HSQC (aliphatic) for a large protein | ks_hsqcetgp.2 | 1k x 256 | 4 | aliphatic | ~38 ppm
| 14 | 1H-13C HSQC (aliphatic) aliasing for a large protein | ks_hsqcetgpsp.2 | 1k x 128 | 4 | aliased aliphatic | ~25 ppm
| 15 | H(CC)(CO)NH | ks_hccconhgp3d2 | 1k x 48 x 64 | 8 | (CA+CB)/2 | ~41 ppm | ~174 ppm | ~54 ppm | = o2p
| 16 | HBHA(CO)NH | ks_hbhaconhgp3d | 1k x 48 x 64 | 8 | (CA+CB)/2 | ~41 ppm | ~174 ppm | ~54 ppm | = o2p
| 17 | HBHANH | ks_hbhanhgp3d | 1k x 48 x 64 | 16 | (CA+CB)/2 | ~41 ppm | ~174 ppm |  | = o2p
| 18 | HCCH-COSY (aliphatic) | ks_hcchcogp3d | 1k x 80 x 64 | 4 | (CA+CB)/2 | ~41 ppm | ~174 ppm
| 19 | HCCH-TOCSY (aliphatic) | ks_hcchdigp3d | 1k x 80 x 64 | 4 | (CA+CB)/2 | ~41 ppm | ~174 ppm
| 20 | 1H-13C NOESY-HSQC (aliphatic) aliasing | noesyhsqcetgp3d | 1k x 64 x 128 | 8 | aliased aliphatic | ~25 ppm
aromatic | 21 | 1H-13CCT- HSQC (aromatic) | ks_hsqcctetgpsp.2 | 1k x 64 | 4 | aromatic | 125 ppm
| 22 | 1H-13C HSQC (aromatic) | hsqcetgpsisp2 | 1k x 64 | 4 | aromatic | 125 ppm
| 23 | (HB)CB(CGCD)HD | hbcbcgcdhdgp | 1k x 32 | 32 | CB | ~36 ppm |  |  |  | = o2p | ~125 ppm
| 24 | (HB)CB(CGCDCE)HE | hbcbcgcdcehegp | 1k x 32 | 32 | CB | ~36 ppm |  |  |  | = o2p | ~125 ppm
| 25 | HCCH-COSY (aromatic) | hcchcogp3d | 1k x 80 x 64 | 4 | aromatic | 125 ppm | 0 ppm
| 26 | HCCH-TOCSY (aromatic) | hcchdigp3d | 1k x 80 x 64 | 4 | aromatic | 125 ppm | 0 ppm
| 27 | 1H-13C NOESY-HSQC (aromatic) | noesyhsqcetgp3d | 1k x 64 x 128 | 8 | aromatic | 125 ppm
others | 31 | 3J HNCO (reference) | ks_hncogphb3d | 1k x 48 x 48 | 16 | CO | ~174 ppm | = o2p | ~54 ppm
| 32 | 3J HNCO | ks_hncogphb3d | 1k x 48 x 48 | 16 | CO | ~174 ppm | = o2p | ~54 ppm

## 15N R1rho dispersion
1H
90 pulse | 10.88 | μs (p1) | -8.3 | dB (pl1)
CP | 93 | Hz | 39.5566 | dB (pl10)
Sinc1.1000 | 1000 | μs (p11) | 26.3683 | dB (pl11)
decouple | 64.1 | μs | 7.1046 | dB (pl19)
13C
Crp60,0.5,20.1 | 500 | μs (p8) | -14.1627 | dB (sp13)
15N
90 pulse | 46 | μs (p21) | -18.8 | dB (pl3)
decouple | 170 | μs (pcpd3) | -7.4462 | dB (pl16)
CP | 93 | Hz | 16.534 | dB (pl22)
0 power |  |  | 1000
max power |  |  | 3000
[5 empty] | on-resonance |  |  | off-resonance
X degree 1H pulse |  |  |  |  | 15N spin lock |  |  | 15N spin lock
| 1H / ppm | 15N / ppm | 1H pulse / μs |  | # | power / Hz | 15N power / dB | # | power / Hz | offset / Hz | 15N pulse / μs | 15N power / dB | #
# | cnst1,fq1list | o3p,fq2list | p5,vplist |  |  |  | pl25,valist |  |  | cnst25,fq3list | p23,vdlist | pl25,valist
| ppm bf | ppm bf |  |  |  |  | dB |  |  | hz sfo |  | dB
1 | 10.0887 | 129.4989 | 5.5547 |  | 1 | 50 | -13.4928 | 1 | 0 | 0 | 46 | -13.6388 | 1
2 | 7.8581 | 106.1026 | 7.3075 |  |  |  | 21.9242 | 2 | 50 | -1000 | 1.463 | 1000
3 | 7.4648 | 118.4452 | 7.6888 |  | 2 | 75 | -13.4189 | 3 |  | -950 | 1.5399 | -13.4928 | 2
4 | 7.23 | 110.7115 | 7.927 |  |  |  | 18.4024 | 4 |  | -900 | 1.6252 | 21.9242
5 | 7.7583 | 115.4767 | 7.4022 |  | 3 | 100 | -13.3443 | 5 |  | -850 | 1.7206 | -13.4928 | 3
6 | 8.7093 | 117.8593 | 6.5588 |  |  |  | 15.9036 | 6 |  | -800 | 1.8279 | 21.9242
7 | 6.8426 | 128.1709 | 8.3366 |  | 4 | 150 | -13.1933 | 7 |  | -750 | 1.9494 | -13.4928 | 4
8 | 8.3981 | 107.5087 | 6.8205 |  |  |  | 12.3818 | 8 |  | -700 | 2.0882 | 21.9242
9 | 8.5508 | 116.8438 | 6.6904 |  | 5 | 200 | -13.0395 | 9 |  | -650 | 2.2482 | -13.4928 | 5
10 | 8.9088 | 112.7036 | 6.3981 |  |  |  | 9.883 | 10 |  | -600 | 2.4348 | 21.9242
11 | 7.2241 | 120.2419 | 7.9331 |  | 6 | 300 | -12.7236 | 11 |  | -550 | 2.6549 | -13.4928 | 6
12 | 8.3629 | 127.1163 | 6.851 |  |  |  | 6.3612 | 12 |  | -500 | 2.9187 | 21.9242
13 | 8.0988 | 107.704 | 7.0852 |  | 7 | 400 | -12.3958 | 13 |  | -450 | 3.2405 | -13.4928 | 7
14 | 8.7738 | 121.0622 | 6.5062 |  |  |  | 3.8624 | 14 |  | -400 | 3.6417 | 21.9242
15 | 8.3512 | 119.617 | 6.8611 |  | 8 | 600 | -11.7006 | 15 |  | -350 | 4.1554 | -13.4928 | 8
16 | 8.2455 | 106.9619 | 6.9539 |  |  |  | 0.34062 | 16 |  | -300 | 4.8363 | 21.9242
17 | 7.6116 | 118.7577 | 7.5439 |  | 9 | 800 | -10.9448 | 17 |  | -250 | 5.7806 | -13.4928 | 9
18 | 8.8032 | 124.0306 | 6.4825 |  |  |  | -2.1582 | 18 |  | -200 | 7.1741 | 21.9242
19 | 7.3357 | 116.961 | 7.8188 |  | 10 | 1000 | -10.117 | 19 |  | -150 | 9.4223 | -13.4928 | 10
20 | 7.1889 | 121.2965 | 7.9695 |  |  |  | -4.0964 | 20 |  | -100 | 13.5777 | 21.9242
21 | 8.4099 | 117.9765 | 6.8103 |  | 11 | 1200 | -9.2018 | 21 |  | -50 | 23 | -13.4928 | 11
22 | 8.4392 | 115.008 | 6.7852 |  |  |  | -5.68 | 22 |  | 0 | 46 | 21.9242
23 | 8.0812 | 118.4062 | 7.1012 |  | 12 | 1400 | -8.1788 | 23 |  | 50 | 23 | -13.4928 | 12
24 | 7.0128 | 120.0466 | 8.1541 |  |  |  | -7.0189 | 24 |  | 100 | 13.5777 | 21.9242
25 | 8.3512 | 118.3671 | 6.8611 |  | 13 | 1800 | -5.68 | 25 |  | 150 | 9.4223 | -13.4928 | 13
26 | 7.5939 | 118.0546 | 7.5612 |  |  |  | -9.2018 | 26 |  | 200 | 7.1741 | 21.9242
27 | 7.3122 | 117.3516 | 7.8427 |  | 14 | 2200 | -2.1582 | 27 |  | 250 | 5.7806 | -13.4928 | 14
28 | 7.8698 | 119.656 | 7.2965 |  |  |  | -10.9448 | 28 |  | 300 | 4.8363 | 21.9242
29 | 8.633 | 116.961 | 6.6217 |  | 15 | 2600 | 3.8624 | 29 |  | 350 | 4.1554 | -13.4928 | 15
30 | 7.9462 | 116.4142 | 7.2252 |  |  |  | -12.3958 | 30 |  | 400 | 3.6417 | 21.9242
31 | 7.8522 | 116.2189 | 7.3131 |  | 16 | 3000 | 1000 | 31 |  | 450 | 3.2405 | -13.4928 | 16
32 | 7.7466 | 120.945 | 7.4134 |  |  |  | -13.6388 | 32 |  | 500 | 2.9187 | 21.9242
33 | 8.1751 | 123.601 | 7.0165 |  | 17 | 50 | -13.4928 | 33 |  | 550 | 2.6549 | -13.4928 | 17
34 | 7.7524 | 116.4532 | 7.4078 |  |  |  | 21.9242 | 34 |  | 600 | 2.4348 | 21.9242
35 | 7.9814 | 118.7186 | 7.1926 |  | 18 | 1000 | -10.117 | 35 |  | 650 | 2.2482 | -13.4928 | 18
36 | 7.9579 | 124.1088 | 7.2144 |  |  |  | -4.0964 | 36 |  | 700 | 2.0882 | 21.9242
37 | 7.864 | 113.7191 | 7.302 |  | 19 | 3000 | 1000 | 37 |  | 750 | 1.9494 | -13.4928 | 19
38 | 7.7935 | 119.1873 | 7.3686 |  |  |  | -13.6388 | 38 |  | 800 | 1.8279 | 21.9242
39 | 8.9499 | 124.5775 | 6.3657 |  | 20 | 0 | -13.6388 | 39 |  | 850 | 1.7206 | -13.4928 | 20
40 | 7.9462 | 120.7106 | 7.2252 |  |  |  | 1000 | 40 |  | 900 | 1.6252 | 21.9242
41 | 7.7994 | 123.7572 | 7.363 |  | 21 | 0 | -13.6388 | 41 |  | 950 | 1.5399 | -13.4928 | 21
42 | 8.2162 | 123.1323 | 6.9799 |  |  |  | 1000 | 42 |  | 1000 | 1.463 | 21.9242
43 | 8.1575 | 124.5384 | 7.0323 |  | 22 |  |  | 43 |  | -500 | 2.9187 | -13.4928 | 22
44 | 7.9696 | 125.5539 | 7.2035 |  |  |  |  | 44 |  | 0 | 46 | 21.9242
45 |  |  |  |  | 23 |  |  | 45 |  | 500 | 2.9187 | -13.4928 | 23
46 | [7 empty] | 46 | 100 | -1000 | 2.9187 | 21.9242
47 |  |  |  |  | 24 |  |  | 47 |  | -950 | 3.0713 | -13.4928 | 24
48 | [7 empty] | 48 |  | -900 | 3.2405 | 21.9242
49 |  |  |  |  | 25 |  |  | 49 |  | -850 | 3.4295 | -13.4928 | 25
50 | [7 empty] | 50 |  | -800 | 3.6417 | 21.9242
51 |  |  |  |  | 26 |  |  | 51 |  | -750 | 3.8817 | -13.4928 | 26
52 | [7 empty] | 52 |  | -700 | 4.1554 | 21.9242
53 |  |  |  |  | 27 |  |  | 53 |  | -650 | 4.4703 | -13.4928 | 27
54 | [7 empty] | 54 |  | -600 | 4.8363 | 21.9242
55 |  |  |  |  | 28 |  |  | 55 |  | -550 | 5.2669 | -13.4928 | 28
56 | [7 empty] | 56 |  | -500 | 5.7806 | 21.9242
57 |  |  |  |  | 29 |  |  | 57 |  | -450 | 6.4036 | -13.4928 | 29
58 | [7 empty] | 58 |  | -400 | 7.1741 | 21.9242
59 |  |  |  |  | 30 |  |  | 59 |  | -350 | 8.1499 | -13.4928 | 30
60 | [7 empty] | 60 |  | -300 | 9.4223 | 21.9242
61 | [7 empty] | 61 |  | -250 | 11.1429 | -13.4928 | 31
62 | [7 empty] | 62 |  | -200 | 13.5777 | 21.9242
63 | [7 empty] | 63 |  | -150 | 17.2194 | -13.4928 | 32
64 | [7 empty] | 64 |  | -100 | 23 | 21.9242
65 | [7 empty] | 65 |  | -50 | 32.4223 | -13.4928 | 33
66 | [7 empty] | 66 |  | 0 | 46 | 21.9242
67 | [7 empty] | 67 |  | 50 | 32.4223 | -13.4928 | 34
68 | [7 empty] | 68 |  | 100 | 23 | 21.9242
69 | [7 empty] | 69 |  | 150 | 17.2194 | -13.4928 | 35
70 | [7 empty] | 70 |  | 200 | 13.5777 | 21.9242
71 | [7 empty] | 71 |  | 250 | 11.1429 | -13.4928 | 36
72 | [7 empty] | 72 |  | 300 | 9.4223 | 21.9242
73 | [7 empty] | 73 |  | 350 | 8.1499 | -13.4928 | 37
74 | [7 empty] | 74 |  | 400 | 7.1741 | 21.9242
75 | [7 empty] | 75 |  | 450 | 6.4036 | -13.4928 | 38
76 | [7 empty] | 76 |  | 500 | 5.7806 | 21.9242
77 | [7 empty] | 77 |  | 550 | 5.2669 | -13.4928 | 39
78 | [7 empty] | 78 |  | 600 | 4.8363 | 21.9242
79 | [7 empty] | 79 |  | 650 | 4.4703 | -13.4928 | 40
80 | [7 empty] | 80 |  | 700 | 4.1554 | 21.9242
81 | [7 empty] | 81 |  | 750 | 3.8817 | -13.4928 | 41
82 | [7 empty] | 82 |  | 800 | 3.6417 | 21.9242
83 | [7 empty] | 83 |  | 850 | 3.4295 | -13.4928 | 42
84 | [7 empty] | 84 |  | 900 | 3.2405 | 21.9242
85 | [7 empty] | 85 |  | 950 | 3.0713 | -13.4928 | 43
86 | [7 empty] | 86 |  | 1000 | 2.9187 | 21.9242
87 | [7 empty] | 87 |  | -500 | 5.7806 | -13.4928 | 44
88 | [7 empty] | 88 |  | 0 | 46 | 21.9242
89 | [7 empty] | 89 |  | 500 | 5.7806 | -13.4928 | 45
90 | [7 empty] | 90 | 150 | -1000 | 4.3602 | 21.9242
91 | [7 empty] | 91 |  | -950 | 4.586 | -13.3443 | 46
92 | [7 empty] | 92 |  | -900 | 4.8363 | 15.9036
93 | [7 empty] | 93 |  | -850 | 5.1152 | -13.3443 | 47
94 | [7 empty] | 94 |  | -800 | 5.4278 | 15.9036
95 | [7 empty] | 95 |  | -750 | 5.7806 | -13.3443 | 48
96 | [7 empty] | 96 |  | -700 | 6.1818 | 15.9036
97 | [7 empty] | 97 |  | -650 | 6.6417 | -13.3443 | 49
98 | [7 empty] | 98 |  | -600 | 7.1741 | 15.9036
99 | [7 empty] | 99 |  | -550 | 7.7971 | -13.3443 | 50
100 | [7 empty] | 100 |  | -500 | 8.5352 | 15.9036
101 | [7 empty] | 101 |  | -450 | 9.4223 | -13.3443 | 51
102 | [7 empty] | 102 |  | -400 | 10.5064 | 15.9036
103 | [7 empty] | 103 |  | -350 | 11.8571 | -13.3443 | 52
104 | [7 empty] | 104 |  | -300 | 13.5777 | 15.9036
105 | [7 empty] | 105 |  | -250 | 15.8259 | -13.3443 | 53
106 | [7 empty] | 106 |  | -200 | 18.8446 | 15.9036
107 | [7 empty] | 107 |  | -150 | 23 | -13.3443 | 54
108 | [7 empty] | 108 |  | -100 | 28.7806 | 15.9036
109 | [7 empty] | 109 |  | -50 | 36.5777 | -13.3443 | 55
110 | [7 empty] | 110 |  | 0 | 46 | 15.9036
111 | [7 empty] | 111 |  | 50 | 36.5777 | -13.3443 | 56
112 | [7 empty] | 112 |  | 100 | 28.7806 | 15.9036
113 | [7 empty] | 113 |  | 150 | 23 | -13.3443 | 57
114 | [7 empty] | 114 |  | 200 | 18.8446 | 15.9036
115 | [7 empty] | 115 |  | 250 | 15.8259 | -13.3443 | 58
116 | [7 empty] | 116 |  | 300 | 13.5777 | 15.9036
117 | [7 empty] | 117 |  | 350 | 11.8571 | -13.3443 | 59
118 | [7 empty] | 118 |  | 400 | 10.5064 | 15.9036
119 | [7 empty] | 119 |  | 450 | 9.4223 | -13.3443 | 60
120 | [7 empty] | 120 |  | 500 | 8.5352 | 15.9036
121 | [7 empty] | 121 |  | 550 | 7.7971 | -13.3443 | 61
122 | [7 empty] | 122 |  | 600 | 7.1741 | 15.9036
123 | [7 empty] | 123 |  | 650 | 6.6417 | -13.3443 | 62
124 | [7 empty] | 124 |  | 700 | 6.1818 | 15.9036
125 | [7 empty] | 125 |  | 750 | 5.7806 | -13.3443 | 63
126 | [7 empty] | 126 |  | 800 | 5.4278 | 15.9036
127 | [7 empty] | 127 |  | 850 | 5.1152 | -13.3443 | 64
128 | [7 empty] | 128 |  | 900 | 4.8363 | 15.9036
129 | [7 empty] | 129 |  | 950 | 4.586 | -13.3443 | 65
130 | [7 empty] | 130 |  | 1000 | 4.3602 | 15.9036
131 | [7 empty] | 131 |  | -500 | 8.5352 | -13.3443 | 66
132 | [7 empty] | 132 |  | 0 | 46 | 15.9036
133 | [7 empty] | 133 |  | 500 | 8.5352 | -13.3443 | 67
134 | [7 empty] | 134 | 200 | -1000 | 5.7806 | 15.9036
135 | [7 empty] | 135 |  | -950 | 6.0764 | -13.3443 | 68
136 | [7 empty] | 136 |  | -900 | 6.4036 | 15.9036
137 | [7 empty] | 137 |  | -850 | 6.7674 | -13.3443 | 69
138 | [7 empty] | 138 |  | -800 | 7.1741 | 15.9036
139 | [7 empty] | 139 |  | -750 | 7.6316 | -13.3443 | 70
140 | [7 empty] | 140 |  | -700 | 8.1499 | 15.9036
141 | [7 empty] | 141 |  | -650 | 8.7414 | -13.3443 | 71
142 | [7 empty] | 142 |  | -600 | 9.4223 | 15.9036
143 | [7 empty] | 143 |  | -550 | 10.2136 | -13.3443 | 72
144 | [7 empty] | 144 |  | -500 | 11.1429 | 15.9036
145 | [7 empty] | 145 |  | -450 | 12.2475 | -13.3443 | 73
146 | [7 empty] | 146 |  | -400 | 13.5777 | 15.9036
147 | [7 empty] | 147 |  | -350 | 15.2029 | -13.3443 | 74
148 | [7 empty] | 148 |  | -300 | 17.2194 | 15.9036
149 | [7 empty] | 149 |  | -250 | 19.7595 | -13.3443 | 75
150 | [7 empty] | 150 |  | -200 | 23 | 15.9036
151 | [7 empty] | 151 |  | -150 | 27.1554 | -13.3443 | 76
152 | [7 empty] | 152 |  | -100 | 32.4223 | 15.9036
153 | [7 empty] | 153 |  | -50 | 38.8259 | -13.3443 | 77
154 | [7 empty] | 154 |  | 0 | 46 | 15.9036
155 | [7 empty] | 155 |  | 50 | 38.8259 | -13.3443 | 78
156 | [7 empty] | 156 |  | 100 | 32.4223 | 15.9036
157 | [7 empty] | 157 |  | 150 | 27.1554 | -13.3443 | 79
158 | [7 empty] | 158 |  | 200 | 23 | 15.9036
159 | [7 empty] | 159 |  | 250 | 19.7595 | -13.3443 | 80
160 | [7 empty] | 160 |  | 300 | 17.2194 | 15.9036
161 | [7 empty] | 161 |  | 350 | 15.2029 | -13.3443 | 81
162 | [7 empty] | 162 |  | 400 | 13.5777 | 15.9036
163 | [7 empty] | 163 |  | 450 | 12.2475 | -13.3443 | 82
164 | [7 empty] | 164 |  | 500 | 11.1429 | 15.9036
165 | [7 empty] | 165 |  | 550 | 10.2136 | -13.3443 | 83
166 | [7 empty] | 166 |  | 600 | 9.4223 | 15.9036
167 | [7 empty] | 167 |  | 650 | 8.7414 | -13.3443 | 84
168 | [7 empty] | 168 |  | 700 | 8.1499 | 15.9036
169 | [7 empty] | 169 |  | 750 | 7.6316 | -13.3443 | 85
170 | [7 empty] | 170 |  | 800 | 7.1741 | 15.9036
171 | [7 empty] | 171 |  | 850 | 6.7674 | -13.3443 | 86
172 | [7 empty] | 172 |  | 900 | 6.4036 | 15.9036
173 | [7 empty] | 173 |  | 950 | 6.0764 | -13.3443 | 87
174 | [7 empty] | 174 |  | 1000 | 5.7806 | 15.9036
175 | [7 empty] | 175 |  | -500 | 11.1429 | -13.3443 | 88
176 | [7 empty] | 176 |  | 0 | 46 | 15.9036
177 | [7 empty] | 177 |  | 500 | 11.1429 | -13.3443 | 89
178 | [7 empty] | 178 | 0 | 0 | 46 | 15.9036
179 | [11 empty] | -13.1933 | 90
180 | [11 empty] | 12.3818
181 | [11 empty] | -13.1933 | 91
182 | [11 empty] | 12.3818
183 | [11 empty] | -13.1933 | 92
184 | [11 empty] | 12.3818
185 | [11 empty] | -13.1933 | 93
186 | [11 empty] | 12.3818
187 | [11 empty] | -13.1933 | 94
188 | [11 empty] | 12.3818
189 | [11 empty] | -13.1933 | 95
190 | [11 empty] | 12.3818
191 | [11 empty] | -13.1933 | 96
192 | [11 empty] | 12.3818
193 | [11 empty] | -13.1933 | 97
194 | [11 empty] | 12.3818
195 | [11 empty] | -13.1933 | 98
196 | [11 empty] | 12.3818
197 | [11 empty] | -13.1933 | 99
198 | [11 empty] | 12.3818
199 | [11 empty] | -13.1933 | 100
200 | [11 empty] | 12.3818
[12 empty] | -13.1933 | 101
12.3818
[12 empty] | -13.1933 | 102
12.3818
[12 empty] | -13.1933 | 103
12.3818
[12 empty] | -13.1933 | 104
12.3818
[12 empty] | -13.1933 | 105
12.3818
[12 empty] | -13.1933 | 106
12.3818
[12 empty] | -13.1933 | 107
12.3818
[12 empty] | -13.1933 | 108
12.3818
[12 empty] | -13.1933 | 109
12.3818
[12 empty] | -13.1933 | 110
12.3818
[12 empty] | -13.1933 | 111
12.3818
[12 empty] | -13.1933 | 112
12.3818
[12 empty] | -13.1933 | 113
12.3818
[12 empty] | -13.1933 | 114
12.3818
[12 empty] | -13.1933 | 115
12.3818
[12 empty] | -13.1933 | 116
12.3818
[12 empty] | -13.1933 | 117
12.3818
[12 empty] | -13.1933 | 118
12.3818
[12 empty] | -13.1933 | 119
12.3818
[12 empty] | -13.1933 | 120
12.3818
[12 empty] | -13.1933 | 121
12.3818
[12 empty] | -13.1933 | 122
12.3818
[12 empty] | -13.1933 | 123
12.3818
[12 empty] | -13.1933 | 124
12.3818
[12 empty] | -13.1933 | 125
12.3818
[12 empty] | -13.1933 | 126
12.3818
[12 empty] | -13.1933 | 127
12.3818
[12 empty] | -13.1933 | 128
12.3818
[12 empty] | -13.1933 | 129
12.3818
[12 empty] | -13.1933 | 130
12.3818
[12 empty] | -13.1933 | 131
12.3818
[12 empty] | -13.1933 | 132
12.3818
[12 empty] | -13.1933 | 133
12.3818
[12 empty] | -13.0395 | 134
9.883
[12 empty] | -13.0395 | 135
9.883
[12 empty] | -13.0395 | 136
9.883
[12 empty] | -13.0395 | 137
9.883
[12 empty] | -13.0395 | 138
9.883
[12 empty] | -13.0395 | 139
9.883
[12 empty] | -13.0395 | 140
9.883
[12 empty] | -13.0395 | 141
9.883
[12 empty] | -13.0395 | 142
9.883
[12 empty] | -13.0395 | 143
9.883
[12 empty] | -13.0395 | 144
9.883
[12 empty] | -13.0395 | 145
9.883
[12 empty] | -13.0395 | 146
9.883
[12 empty] | -13.0395 | 147
9.883
[12 empty] | -13.0395 | 148
9.883
[12 empty] | -13.0395 | 149
9.883
[12 empty] | -13.0395 | 150
9.883
[12 empty] | -13.0395 | 151
9.883
[12 empty] | -13.0395 | 152
9.883
[12 empty] | -13.0395 | 153
9.883
[12 empty] | -13.0395 | 154
9.883
[12 empty] | -13.0395 | 155
9.883
[12 empty] | -13.0395 | 156
9.883
[12 empty] | -13.0395 | 157
9.883
[12 empty] | -13.0395 | 158
9.883
[12 empty] | -13.0395 | 159
9.883
[12 empty] | -13.0395 | 160
9.883
[12 empty] | -13.0395 | 161
9.883
[12 empty] | -13.0395 | 162
9.883
[12 empty] | -13.0395 | 163
9.883
[12 empty] | -13.0395 | 164
9.883
[12 empty] | -13.0395 | 165
9.883
[12 empty] | -13.0395 | 166
9.883
[12 empty] | -13.0395 | 167
9.883
[12 empty] | -13.0395 | 168
9.883
[12 empty] | -13.0395 | 169
9.883
[12 empty] | -13.0395 | 170
9.883
[12 empty] | -13.0395 | 171
9.883
[12 empty] | -13.0395 | 172
9.883
[12 empty] | -13.0395 | 173
9.883
[12 empty] | -13.0395 | 174
9.883
[12 empty] | -13.0395 | 175
9.883
[12 empty] | -13.0395 | 176
9.883
[12 empty] | -13.0395 | 177
9.883
[12 empty] | -13.6388 | 178
1000

## 15N R2 dispersion
1H
90 pulse | 10.88 | μs (p1) | -8.3 | dB (pl1)
decouple | 16.6667 | μs (p26) | -4.5956 | dB (pl19)
Sinc1.1000 | 1000 | μs (p11) | 26.3683 | dB (sp1)
13C
Crp60,0.5,20.1 | 500 | μs (p8) | -14.1627 | dB (sp13)
15N
90 pulse | 46 | μs (p21) | -18.8 | dB (pl3)
decouple | 170 | μs (pcpd3) | -7.4462 | dB (pl16)
TCPMG | 20 | ms (d20) |  | 30 | ms (d20) |  | 40 | ms (d20) |  | 50 | ms (d20)
| CPMG loop | τCP | 1/τCP | CPMG loop | τCP | 1/τCP | CPMG loop | τCP | 1/τCP | CPMG loop | τCP | 1/τCP
# | l2,vclist | ms | s-1 | l2,vclist | ms | s-1 | l2,vclist | ms | s-1 | l2,vclist | ms | s-1
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 1 | 10 | 100 | 1 | 15 | 66.6667 | 1 | 20 | 50 | 1 | 25 | 40
3 | 2 | 5 | 200 | 2 | 7.5 | 133.3333 | 2 | 10 | 100 | 2 | 12.5 | 80
4 | 3 | 3.3333 | 300 | 3 | 5 | 200 | 3 | 6.6667 | 150 | 3 | 8.3333 | 120
5 | 4 | 2.5 | 400 | 4 | 3.75 | 266.6667 | 4 | 5 | 200 | 4 | 6.25 | 160
6 | 5 | 2 | 500 | 5 | 3 | 333.3333 | 6 | 3.3333 | 300 | 6 | 4.1667 | 240
7 | 6 | 1.6667 | 600 | 6 | 2.5 | 400 | 8 | 2.5 | 400 | 8 | 3.125 | 320
8 | 7 | 1.4286 | 700 | 8 | 1.875 | 533.3333 | 11 | 1.8182 | 550 | 12 | 2.0833 | 480
9 | 8 | 1.25 | 800 | 10 | 1.5 | 666.6667 | 14 | 1.4286 | 700 | 14 | 1.7857 | 560
10 | 10 | 1 | 1000 | 12 | 1.25 | 800 | 17 | 1.1765 | 850 | 16 | 1.5625 | 640
11 | 12 | 0.83333 | 1200 | 14 | 1.0714 | 933.3333 | 20 | 1 | 1000 | 18 | 1.3889 | 720
12 | 14 | 0.71429 | 1400 | 16 | 0.9375 | 1066.6667 | 25 | 0.8 | 1250 | 24 | 1.0417 | 960
13 | 16 | 0.625 | 1600 | 20 | 0.75 | 1333.3333 | 30 | 0.66667 | 1500 | 32 | 0.78125 | 1280
14 | 18 | 0.55556 | 1800 | 25 | 0.6 | 1666.6667 | 35 | 0.57143 | 1750 | 41 | 0.60976 | 1640
15 | 20 | 0.5 | 2000 | 30 | 0.5 | 2000 | 40 | 0.5 | 2000 | 50 | 0.5 | 2000
16 | 3 | 3.3333 | 300 | 5 | 3 | 333.3333 | 6 | 3.3333 | 300 | 3 | 8.3333 | 120
17 | 10 | 1 | 1000 | 16 | 0.9375 | 1066.6667 | 20 | 1 | 1000 | 24 | 1.0417 | 960
18 | 20 | 0.5 | 2000 | 30 | 0.5 | 2000 | 40 | 0.5 | 2000 | 50 | 0.5 | 2000
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 1HN R2 dispersion
1H
90 pulse | 10.88 | μs (p1) | -8.3 | dB (pl1)
Sinc1.1000 | 1000 | μs (p11) | 26.3683 | dB (sp1)
Reburp.1000 | 3000 | μs (p12) | 12.5304 | dB (sp12)
13C
Crp60,0.5,20.1 | 500 | μs (p8) | -14.1627 | dB (sp13)
15N
90 pulse | 46 | μs (p21) | -18.8 | dB (pl3)
decouple | 170 | μs (pcpd3) | -7.4462 | dB (pl16)
TCPMG | 20 | ms (d20) |  | 30 | ms (d20) |  | 40 | ms (d20) |  | 50 | ms (d20)
| CPMG loop | τCP | 1/τCP | CPMG loop | τCP | 1/τCP | CPMG loop | τCP | 1/τCP | CPMG loop | τCP | 1/τCP
# | l2,vclist | ms | s-1 | l2,vclist | ms | s-1 | l2,vclist | ms | s-1 | l2,vclist | ms | s-1
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 1 | 5 | 200 | 1 | 7.5 | 133.3333 | 1 | 10 | 100 | 1 | 12.5 | 80
3 | 2 | 2.5 | 400 | 2 | 3.75 | 266.6667 | 2 | 5 | 200 | 2 | 6.25 | 160
4 | 3 | 1.6667 | 600 | 3 | 2.5 | 400 | 3 | 3.3333 | 300 | 3 | 4.1667 | 240
5 | 4 | 1.25 | 800 | 4 | 1.875 | 533.3333 | 4 | 2.5 | 400 | 4 | 3.125 | 320
6 | 5 | 1 | 1000 | 5 | 1.5 | 666.6667 | 6 | 1.6667 | 600 | 6 | 2.0833 | 480
7 | 6 | 0.83333 | 1200 | 6 | 1.25 | 800 | 8 | 1.25 | 800 | 8 | 1.5625 | 640
8 | 7 | 0.71429 | 1400 | 8 | 0.9375 | 1066.6667 | 11 | 0.90909 | 1100 | 12 | 1.0417 | 960
9 | 8 | 0.625 | 1600 | 10 | 0.75 | 1333.3333 | 14 | 0.71429 | 1400 | 14 | 0.89286 | 1120
10 | 10 | 0.5 | 2000 | 12 | 0.625 | 1600 | 17 | 0.58824 | 1700 | 16 | 0.78125 | 1280
11 | 12 | 0.41667 | 2400 | 14 | 0.53571 | 1866.6667 | 20 | 0.5 | 2000 | 18 | 0.69444 | 1440
12 | 14 | 0.35714 | 2800 | 16 | 0.46875 | 2133.3333 | 25 | 0.4 | 2500 | 24 | 0.52083 | 1920
13 | 16 | 0.3125 | 3200 | 20 | 0.375 | 2666.6667 | 30 | 0.33333 | 3000 | 32 | 0.39062 | 2560
14 | 18 | 0.27778 | 3600 | 25 | 0.3 | 3333.3333 | 35 | 0.28571 | 3500 | 41 | 0.30488 | 3280
15 | 20 | 0.25 | 4000 | 30 | 0.25 | 4000 | 40 | 0.25 | 4000 | 50 | 0.25 | 4000
16 | 3 | 1.6667 | 600 | 5 | 1.5 | 666.6667 | 6 | 1.6667 | 600 | 3 | 4.1667 | 240
17 | 10 | 0.5 | 2000 | 16 | 0.46875 | 2133.3333 | 20 | 0.5 | 2000 | 24 | 0.52083 | 1920
18 | 20 | 0.25 | 4000 | 30 | 0.25 | 4000 | 40 | 0.25 | 4000 | 50 | 0.25 | 4000
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## CLEANEX-PM
1H
90 pulse | 10.88 | μs (p1) | -8.3 | dB (pl1)
CLEANEX-PM | 50 | μs (p10) | 4.9468 | dB (pl27)
Gaus1_180r.1000 | 7500 | μs (p7) | 34.7371 | dB (sp21)
13C
Crp60,0.5,20.1 | 500 | μs (p8) | -14.1627 | dB (sp13)
15N
90 pulse | 46 | μs (p21) | -18.8 | dB (pl3)
decouple | 170 | μs (pcpd3) | -7.4462 | dB (pl16)

## 15N CEST
1H
90 pulse | 10.88 | μs (p1) | -8.3 | dB (pl1)
decouple | 71.43 | μs (pcpd1) | 8.045 | dB (pl19)
Bip720,50,20.1 | 170 | μs (p44) | -2.4854 | dB (sp30)
13C
Crp60,0.5,20.1 | 500 | μs (p8) | -14.1627 | dB (sp13)
15N
90 pulse | 46 | μs (p21) | -18.8 | dB (pl3)
decouple | 170 | μs (pcpd3) | -7.4462 | dB (pl16)
15N irradiation
15N SW / Hz | 2341.581
N points | 60
increment / Hz/point | 39.6878
fq3list
# | hz sfo
1 | -1170.7905
2 | -1131.1027
3 | -1091.4149
4 | -1051.7271
5 | -1012.0392
6 | -972.3514
7 | -932.6636
8 | -892.9758
9 | -853.288
10 | -813.6002
11 | -773.9124
12 | -734.2246
13 | -694.5367
14 | -654.8489
15 | -615.1611
16 | -575.4733
17 | -535.7855
18 | -496.0977
19 | -456.4099
20 | -416.722
21 | -377.0342
22 | -337.3464
23 | -297.6586
24 | -257.9708
25 | -218.283
26 | -178.5952
27 | -138.9073
28 | -99.2195
29 | -59.5317
30 | -19.8439
31 | 19.8439
32 | 59.5317
33 | 99.2195
34 | 138.9073
35 | 178.5952
36 | 218.283
37 | 257.9708
38 | 297.6586
39 | 337.3464
40 | 377.0342
41 | 416.722
42 | 456.4099
43 | 496.0977
44 | 535.7855
45 | 575.4733
46 | 615.1611
47 | 654.8489
48 | 694.5367
49 | 734.2246
50 | 773.9124
51 | 813.6002
52 | 853.288
53 | 892.9758
54 | 932.6636
55 | 972.3514
56 | 1012.0392
57 | 1051.7271
58 | 1091.4149
59 | 1131.1027
60 | 1170.7905

## T1T2NOE
1H
90 pulse | 10.88 | μs (p1) | -8.3 | dB (pl1)
Bip720,50,20.1 | 170 | μs (p44) | -2.4854 | dB (sp30)
13C
Crp60,0.5,20.1 | 500 | μs (p8) | -14.1627 | dB (sp13)
15N
90 pulse | 46 | μs (p21) | -18.8 | dB (pl3)
decouple | 170 | μs (pcpd3) | -7.4462 | dB (pl16)