## start here
TopSpin version | 3.x
bf1 | 700.18 | MHz
bf2 | 176.0604 | MHz
bf3 | 70.9486 | MHz
1H
90 pulse | 10 | μs (p1) | -8.58 | dB (pl1)
TOCSY mixing | 25 | μs (p6) | -0.6212 | dB (pl10)
decouple | 35 | μs (p26,pcpd1) | 2.3014 | dB (pl19)
Squa100.1000 | 1000 | μs (p11) | 31.42 | dB (pl11)
Sinc1.1000 | 1000 | μs (p11) | 26.8208 | dB (sp1)
Eburp1.100 | 5000 | μs (p11) | 21.933 | dB (sp1)
13C
90 pulse | 15 | μs (p3) | -18.8 | dB (pl2)
decouple | 55 | μs (pcpd2) | -7.5146 | dB (pl12)
TOCSY mixing | 25 | μs (p9) | -14.363 | dB (pl15)
Crp60,0.5,20.1 | 500 | μs (p8,p14) | -14.1627 | dB (sp13,sp3)
Crp60comp.4 | 2000 | μs (p24) | -14.1627 | dB (sp7)
G4.256 | 352 | μs (p13) | -16.8127 | dB (sp2,sp8)
Q3.1000 | 220 | μs (p14) | -17.8869 | dB (sp3,sp5,sp7)
Q3.1000 | 1000 | μs (p24) | -4.7353 | dB (sp9)
15N
90 pulse | 40 | μs (p21) | -18.4 | dB (pl3)
decouple | 170 | μs (pcpd3) | -5.8322 | dB (pl16)
19F
90 pulse | 10 | μs (p1) | -10 | dB (pl1)
1H | 4.7 | ppm | 12 | ppm (sw)
13C aliphatic | 38 | ppm | 70 | ppm (sw)
13C aliphatic (aliased) | 25 | ppm | 42 | ppm (sw)
13C aromatic | 125 | ppm | 24 | ppm (sw)
13Cα | 53.5 | ppm (cnst22) | 28 | ppm (sw)
13Cα+13Cβ | 41 | ppm (cnst23) | 64 | ppm (sw)
13CO | 174.5 | ppm (cnst21) | 10 | ppm (sw)
15N | 118 | ppm | 34 | ppm (sw)
19F | -45 | ppm | 20 | ppm (sw)

## 3D experiments
| assign3d | experiment name | pulse program | TD | ns | o2p |  | cnst21 [CO] | cnst22 [CA] | cnst23 [(CA+AB)/2] | cnst24 [CB] | cnst30 [aromatic]
backbone | 1 | excitation sculpting | zgesgp | 8k | 8
| 2 | 1H-15N HSQC | ks_hsqcetfpf3gpsi2 | 1k x 256 | 4 | (CA+CO)/2 | ~113 ppm
| 3 | HNCO | ks_hncogp3d | 1k x 48 x 48 | 4 | CO | ~174 ppm | = o2p | ~54 ppm
| 4 | HN(CA)CO | ks_hncacogp3d | 1k x 48 x 48 | 8 | CO | ~174 ppm | = o2p | ~54 ppm
| 5 | HN(CO)CA | ks_hncocagp3d | 1k x 48 x 64 | 4 | CA | ~54 ppm | ~174 ppm | = o2p
| 6 | HNCA | ks_hncagp3d | 1k x 48 x 64 | 4 | CA | ~54 ppm | ~174 ppm | = o2p
| 7 | CBCA(CO)NH | ks_cbcaconhgp3d | 1k x 48 x 80 | 8 | (CA+CB)/2 | ~41 ppm | ~174 ppm | ~54 ppm | = o2p
| 8 | HNCACB | ks_hncacbgp3d | 1k x 48 x 80 | 8 | (CA+CB)/2 | ~41 ppm | ~174 ppm |  | = o2p
| 9 | (H)CC(CO)NH | ks_hccconhgp3d3 | 1k x 48 x 80 | 8 | (CA+CB)/2 | ~41 ppm | ~174 ppm | ~54 ppm | = o2p
| 10 | 1H-15N NOESY-HSQC | ks_noesyhsqcf3gpsi3d | 1k x 48 x 128 | 8 | (CA+CO)/2 | ~113 ppm
aliphatic | 11 | 1H-13C CT-HSQC (aliphatic) | ks_hsqcctetgpsp | 1k x 256 | 4 | aliphatic | ~38 ppm | ~174 ppm
| 12 | 1H-13C CT-HSQC (aliphatic) aliasing | ks_hsqcctetgpsp | 1k x 128 | 4 | aliased aliphatic | ~25 ppm | ~174 ppm
| 13 | 1H-13C HSQC (aliphatic) for a large protein | ks_hsqcetgp.2 | 1k x 256 | 4 | aliphatic | ~38 ppm
| 14 | 1H-13C HSQC (aliphatic) aliasing for a large protein | ks_hsqcetgpsp.2 | 1k x 128 | 4 | aliased aliphatic | ~25 ppm
| 15 | H(CC)(CO)NH | ks_hccconhgp3d2 | 1k x 48 x 64 | 8 | (CA+CB)/2 | ~41 ppm | ~174 ppm | ~54 ppm | = o2p
| 16 | HBHA(CO)NH | ks_hbhaconhgp3d | 1k x 48 x 64 | 8 | (CA+CB)/2 | ~41 ppm | ~174 ppm | ~54 ppm | = o2p
| 17 | HBHANH | ks_hbhanhgp3d | 1k x 48 x 64 | 16 | (CA+CB)/2 | ~41 ppm | ~174 ppm |  | = o2p
| 18 | HCCH-COSY (aliphatic) | ks_hcchcogp3d | 1k x 80 x 64 | 4 | (CA+CB)/2 | ~41 ppm | ~174 ppm
| 19 | HCCH-TOCSY (aliphatic) | ks_hcchdigp3d | 1k x 80 x 64 | 4 | (CA+CB)/2 | ~41 ppm | ~174 ppm
| 20 | 1H-13C NOESY-HSQC (aliphatic) aliasing | noesyhsqcetgp3d | 1k x 64 x 128 | 8 | aliased aliphatic | ~25 ppm
aromatic | 21 | 1H-13CCT- HSQC (aromatic) | ks_hsqcctetgpsp.2 | 1k x 64 | 4 | aromatic | 125 ppm
| 22 | 1H-13C HSQC (aromatic) | hsqcetgpsisp2 | 1k x 64 | 4 | aromatic | 125 ppm
| 23 | (HB)CB(CGCD)HD | hbcbcgcdhdgp | 1k x 32 | 32 | CB | ~36 ppm |  |  |  | = o2p | ~125 ppm
| 24 | (HB)CB(CGCDCE)HE | hbcbcgcdcehegp | 1k x 32 | 32 | CB | ~36 ppm |  |  |  | = o2p | ~125 ppm
| 25 | HCCH-COSY (aromatic) | hcchcogp3d | 1k x 80 x 64 | 4 | aromatic | 125 ppm | 0 ppm
| 26 | HCCH-TOCSY (aromatic) | hcchdigp3d | 1k x 80 x 64 | 4 | aromatic | 125 ppm | 0 ppm
| 27 | 1H-13C NOESY-HSQC (aromatic) | noesyhsqcetgp3d | 1k x 64 x 128 | 8 | aromatic | 125 ppm
others | 31 | 3J HNCO (reference) | ks_hncogphb3d | 1k x 48 x 48 | 16 | CO | ~174 ppm | = o2p | ~54 ppm
| 32 | 3J HNCO | ks_hncogphb3d | 1k x 48 x 48 | 16 | CO | ~174 ppm | = o2p | ~54 ppm

## 15N R1rho dispersion
1H
90 pulse | 10 | μs (p1) | -8.58 | dB (pl1)
CP | 40 | Hz | 47.3376 | dB (pl10)
Sinc1.1000 | 1000 | μs (p11) | 26.8208 | dB (pl11)
decouple | 64.1 | μs | 7.5572 | dB (pl19)
13C
Crp60,0.5,20.1 | 500 | μs (p8) | -14.1627 | dB (sp13)
15N
90 pulse | 40 | μs (p21) | -18.4 | dB (pl3)
decouple | 170 | μs (pcpd3) | -5.8322 | dB (pl16)
CP | 40 | Hz | 25.4764 | dB (pl22)
0 power |  |  | 1000
max power |  |  | 3000
[5 empty] | on-resonance |  |  | off-resonance
X degree 1H pulse |  |  |  |  | 15N spin lock |  |  | 15N spin lock
| 1H / ppm | 15N / ppm | 1H pulse / μs |  | # | power / Hz | 15N power / dB | # | power / Hz | offset / Hz | 15N pulse / μs | 15N power / dB | #
# | cnst1,fq1list | o3p,fq2list | p5,vplist |  |  |  | pl25,valist |  |  | cnst25,fq3list | p23,vdlist | pl25,valist
| ppm bf | ppm bf |  |  |  |  | dB |  |  | hz sfo |  | dB
1 | 10.0887 | 129.4989 | 5.1054 |  | 1 | 50 | -11.8788 | 1 | 0 | 0 | 40 | -12.0248 | 1
2 | 7.8581 | 106.1026 | 6.7165 |  |  |  | 23.5382 | 2 | 50 | -1000 | 1.2722 | 1000
3 | 7.4648 | 118.4452 | 7.0669 |  | 2 | 75 | -11.8049 | 3 |  | -950 | 1.339 | -11.8788 | 2
4 | 7.23 | 110.7115 | 7.2858 |  |  |  | 20.0164 | 4 |  | -900 | 1.4133 | 23.5382
5 | 7.7583 | 115.4767 | 6.8035 |  | 3 | 100 | -11.7304 | 5 |  | -850 | 1.4962 | -11.8788 | 3
6 | 8.7093 | 117.8593 | 6.0283 |  |  |  | 17.5176 | 6 |  | -800 | 1.5895 | 23.5382
7 | 6.8426 | 128.1709 | 7.6623 |  | 4 | 150 | -11.5793 | 7 |  | -750 | 1.6951 | -11.8788 | 4
8 | 8.3981 | 107.5087 | 6.2688 |  |  |  | 13.9958 | 8 |  | -700 | 1.8158 | 23.5382
9 | 8.5508 | 116.8438 | 6.1492 |  | 5 | 200 | -11.4256 | 9 |  | -650 | 1.955 | -11.8788 | 5
10 | 8.9088 | 112.7036 | 5.8806 |  |  |  | 11.497 | 10 |  | -600 | 2.1172 | 23.5382
11 | 7.2241 | 120.2419 | 7.2914 |  | 6 | 300 | -11.1097 | 11 |  | -550 | 2.3086 | -11.8788 | 6
12 | 8.3629 | 127.1163 | 6.2968 |  |  |  | 7.9752 | 12 |  | -500 | 2.538 | 23.5382
13 | 8.0988 | 107.704 | 6.5122 |  | 7 | 400 | -10.7819 | 13 |  | -450 | 2.8179 | -11.8788 | 7
14 | 8.7738 | 121.0622 | 5.98 |  |  |  | 5.4764 | 14 |  | -400 | 3.1667 | 23.5382
15 | 8.3512 | 119.617 | 6.3062 |  | 8 | 600 | -10.0866 | 15 |  | -350 | 3.6134 | -11.8788 | 8
16 | 8.2455 | 106.9619 | 6.3914 |  |  |  | 1.9546 | 16 |  | -300 | 4.2055 | 23.5382
17 | 7.6116 | 118.7577 | 6.9337 |  | 9 | 800 | -9.3309 | 17 |  | -250 | 5.0266 | -11.8788 | 9
18 | 8.8032 | 124.0306 | 5.9582 |  |  |  | -0.5442 | 18 |  | -200 | 6.2383 | 23.5382
19 | 7.3357 | 116.961 | 7.1864 |  | 10 | 1000 | -8.503 | 19 |  | -150 | 8.1933 | -11.8788 | 10
20 | 7.1889 | 121.2965 | 7.3249 |  |  |  | -2.4824 | 20 |  | -100 | 11.8067 | 23.5382
21 | 8.4099 | 117.9765 | 6.2595 |  | 11 | 1200 | -7.5878 | 21 |  | -50 | 20 | -11.8788 | 11
22 | 8.4392 | 115.008 | 6.2364 |  |  |  | -4.066 | 22 |  | 0 | 40 | 23.5382
23 | 8.0812 | 118.4062 | 6.5269 |  | 12 | 1400 | -6.5648 | 23 |  | 50 | 20 | -11.8788 | 12
24 | 7.0128 | 120.0466 | 7.4946 |  |  |  | -5.405 | 24 |  | 100 | 11.8067 | 23.5382
25 | 8.3512 | 118.3671 | 6.3062 |  | 13 | 1800 | -4.066 | 25 |  | 150 | 8.1933 | -11.8788 | 13
26 | 7.5939 | 118.0546 | 6.9496 |  |  |  | -7.5878 | 26 |  | 200 | 6.2383 | 23.5382
27 | 7.3122 | 117.3516 | 7.2084 |  | 14 | 2200 | -0.5442 | 27 |  | 250 | 5.0266 | -11.8788 | 14
28 | 7.8698 | 119.656 | 6.7064 |  |  |  | -9.3309 | 28 |  | 300 | 4.2055 | 23.5382
29 | 8.633 | 116.961 | 6.0861 |  | 15 | 2600 | 5.4764 | 29 |  | 350 | 3.6134 | -11.8788 | 15
30 | 7.9462 | 116.4142 | 6.6408 |  |  |  | -10.7819 | 30 |  | 400 | 3.1667 | 23.5382
31 | 7.8522 | 116.2189 | 6.7216 |  | 16 | 3000 | 1000 | 31 |  | 450 | 2.8179 | -11.8788 | 16
32 | 7.7466 | 120.945 | 6.8138 |  |  |  | -12.0248 | 32 |  | 500 | 2.538 | 23.5382
33 | 8.1751 | 123.601 | 6.449 |  | 17 | 50 | -11.8788 | 33 |  | 550 | 2.3086 | -11.8788 | 17
34 | 7.7524 | 116.4532 | 6.8087 |  |  |  | 23.5382 | 34 |  | 600 | 2.1172 | 23.5382
35 | 7.9814 | 118.7186 | 6.6109 |  | 18 | 1000 | -8.503 | 35 |  | 650 | 1.955 | -11.8788 | 18
36 | 7.9579 | 124.1088 | 6.6308 |  |  |  | -2.4824 | 36 |  | 700 | 1.8158 | 23.5382
37 | 7.864 | 113.7191 | 6.7114 |  | 19 | 3000 | 1000 | 37 |  | 750 | 1.6951 | -11.8788 | 19
38 | 7.7935 | 119.1873 | 6.7726 |  |  |  | -12.0248 | 38 |  | 800 | 1.5895 | 23.5382
39 | 8.9499 | 124.5775 | 5.8508 |  | 20 | 0 | -12.0248 | 39 |  | 850 | 1.4962 | -11.8788 | 20
40 | 7.9462 | 120.7106 | 6.6408 |  |  |  | 1000 | 40 |  | 900 | 1.4133 | 23.5382
41 | 7.7994 | 123.7572 | 6.7675 |  | 21 | 0 | -12.0248 | 41 |  | 950 | 1.339 | -11.8788 | 21
42 | 8.2162 | 123.1323 | 6.4153 |  |  |  | 1000 | 42 |  | 1000 | 1.2722 | 23.5382
43 | 8.1575 | 124.5384 | 6.4635 |  | 22 |  |  | 43 |  | -500 | 2.538 | -11.8788 | 22
44 | 7.9696 | 125.5539 | 6.6209 |  |  |  |  | 44 |  | 0 | 40 | 23.5382
45 |  |  |  |  | 23 |  |  | 45 |  | 500 | 2.538 | -11.8788 | 23
46 | [7 empty] | 46 | 100 | -1000 | 2.538 | 23.5382
47 |  |  |  |  | 24 |  |  | 47 |  | -950 | 2.6707 | -11.8788 | 24
48 | [7 empty] | 48 |  | -900 | 2.8179 | 23.5382
49 |  |  |  |  | 25 |  |  | 49 |  | -850 | 2.9821 | -11.8788 | 25
50 | [7 empty] | 50 |  | -800 | 3.1667 | 23.5382
51 |  |  |  |  | 26 |  |  | 51 |  | -750 | 3.3754 | -11.8788 | 26
52 | [7 empty] | 52 |  | -700 | 3.6134 | 23.5382
53 |  |  |  |  | 27 |  |  | 53 |  | -650 | 3.8872 | -11.8788 | 27
54 | [7 empty] | 54 |  | -600 | 4.2055 | 23.5382
55 |  |  |  |  | 28 |  |  | 55 |  | -550 | 4.5799 | -11.8788 | 28
56 | [7 empty] | 56 |  | -500 | 5.0266 | 23.5382
57 |  |  |  |  | 29 |  |  | 57 |  | -450 | 5.5684 | -11.8788 | 29
58 | [7 empty] | 58 |  | -400 | 6.2383 | 23.5382
59 |  |  |  |  | 30 |  |  | 59 |  | -350 | 7.0868 | -11.8788 | 30
60 | [7 empty] | 60 |  | -300 | 8.1933 | 23.5382
61 | [7 empty] | 61 |  | -250 | 9.6895 | -11.8788 | 31
62 | [7 empty] | 62 |  | -200 | 11.8067 | 23.5382
63 | [7 empty] | 63 |  | -150 | 14.9734 | -11.8788 | 32
64 | [7 empty] | 64 |  | -100 | 20 | 23.5382
65 | [7 empty] | 65 |  | -50 | 28.1933 | -11.8788 | 33
66 | [7 empty] | 66 |  | 0 | 40 | 23.5382
67 | [7 empty] | 67 |  | 50 | 28.1933 | -11.8788 | 34
68 | [7 empty] | 68 |  | 100 | 20 | 23.5382
69 | [7 empty] | 69 |  | 150 | 14.9734 | -11.8788 | 35
70 | [7 empty] | 70 |  | 200 | 11.8067 | 23.5382
71 | [7 empty] | 71 |  | 250 | 9.6895 | -11.8788 | 36
72 | [7 empty] | 72 |  | 300 | 8.1933 | 23.5382
73 | [7 empty] | 73 |  | 350 | 7.0868 | -11.8788 | 37
74 | [7 empty] | 74 |  | 400 | 6.2383 | 23.5382
75 | [7 empty] | 75 |  | 450 | 5.5684 | -11.8788 | 38
76 | [7 empty] | 76 |  | 500 | 5.0266 | 23.5382
77 | [7 empty] | 77 |  | 550 | 4.5799 | -11.8788 | 39
78 | [7 empty] | 78 |  | 600 | 4.2055 | 23.5382
79 | [7 empty] | 79 |  | 650 | 3.8872 | -11.8788 | 40
80 | [7 empty] | 80 |  | 700 | 3.6134 | 23.5382
81 | [7 empty] | 81 |  | 750 | 3.3754 | -11.8788 | 41
82 | [7 empty] | 82 |  | 800 | 3.1667 | 23.5382
83 | [7 empty] | 83 |  | 850 | 2.9821 | -11.8788 | 42
84 | [7 empty] | 84 |  | 900 | 2.8179 | 23.5382
85 | [7 empty] | 85 |  | 950 | 2.6707 | -11.8788 | 43
86 | [7 empty] | 86 |  | 1000 | 2.538 | 23.5382
87 | [7 empty] | 87 |  | -500 | 5.0266 | -11.8788 | 44
88 | [7 empty] | 88 |  | 0 | 40 | 23.5382
89 | [7 empty] | 89 |  | 500 | 5.0266 | -11.8788 | 45
90 | [7 empty] | 90 | 150 | -1000 | 3.7915 | 23.5382
91 | [7 empty] | 91 |  | -950 | 3.9878 | -11.7304 | 46
92 | [7 empty] | 92 |  | -900 | 4.2055 | 17.5176
93 | [7 empty] | 93 |  | -850 | 4.448 | -11.7304 | 47
94 | [7 empty] | 94 |  | -800 | 4.7198 | 17.5176
95 | [7 empty] | 95 |  | -750 | 5.0266 | -11.7304 | 48
96 | [7 empty] | 96 |  | -700 | 5.3754 | 17.5176
97 | [7 empty] | 97 |  | -650 | 5.7754 | -11.7304 | 49
98 | [7 empty] | 98 |  | -600 | 6.2383 | 17.5176
99 | [7 empty] | 99 |  | -550 | 6.7801 | -11.7304 | 50
100 | [7 empty] | 100 |  | -500 | 7.4219 | 17.5176
101 | [7 empty] | 101 |  | -450 | 8.1933 | -11.7304 | 51
102 | [7 empty] | 102 |  | -400 | 9.136 | 17.5176
103 | [7 empty] | 103 |  | -350 | 10.3105 | -11.7304 | 52
104 | [7 empty] | 104 |  | -300 | 11.8067 | 17.5176
105 | [7 empty] | 105 |  | -250 | 13.7617 | -11.7304 | 53
106 | [7 empty] | 106 |  | -200 | 16.3866 | 17.5176
107 | [7 empty] | 107 |  | -150 | 20 | -11.7304 | 54
108 | [7 empty] | 108 |  | -100 | 25.0266 | 17.5176
109 | [7 empty] | 109 |  | -50 | 31.8067 | -11.7304 | 55
110 | [7 empty] | 110 |  | 0 | 40 | 17.5176
111 | [7 empty] | 111 |  | 50 | 31.8067 | -11.7304 | 56
112 | [7 empty] | 112 |  | 100 | 25.0266 | 17.5176
113 | [7 empty] | 113 |  | 150 | 20 | -11.7304 | 57
114 | [7 empty] | 114 |  | 200 | 16.3866 | 17.5176
115 | [7 empty] | 115 |  | 250 | 13.7617 | -11.7304 | 58
116 | [7 empty] | 116 |  | 300 | 11.8067 | 17.5176
117 | [7 empty] | 117 |  | 350 | 10.3105 | -11.7304 | 59
118 | [7 empty] | 118 |  | 400 | 9.136 | 17.5176
119 | [7 empty] | 119 |  | 450 | 8.1933 | -11.7304 | 60
120 | [7 empty] | 120 |  | 500 | 7.4219 | 17.5176
121 | [7 empty] | 121 |  | 550 | 6.7801 | -11.7304 | 61
122 | [7 empty] | 122 |  | 600 | 6.2383 | 17.5176
123 | [7 empty] | 123 |  | 650 | 5.7754 | -11.7304 | 62
124 | [7 empty] | 124 |  | 700 | 5.3754 | 17.5176
125 | [7 empty] | 125 |  | 750 | 5.0266 | -11.7304 | 63
126 | [7 empty] | 126 |  | 800 | 4.7198 | 17.5176
127 | [7 empty] | 127 |  | 850 | 4.448 | -11.7304 | 64
128 | [7 empty] | 128 |  | 900 | 4.2055 | 17.5176
129 | [7 empty] | 129 |  | 950 | 3.9878 | -11.7304 | 65
130 | [7 empty] | 130 |  | 1000 | 3.7915 | 17.5176
131 | [7 empty] | 131 |  | -500 | 7.4219 | -11.7304 | 66
132 | [7 empty] | 132 |  | 0 | 40 | 17.5176
133 | [7 empty] | 133 |  | 500 | 7.4219 | -11.7304 | 67
134 | [7 empty] | 134 | 200 | -1000 | 5.0266 | 17.5176
135 | [7 empty] | 135 |  | -950 | 5.2838 | -11.7304 | 68
136 | [7 empty] | 136 |  | -900 | 5.5684 | 17.5176
137 | [7 empty] | 137 |  | -850 | 5.8847 | -11.7304 | 69
138 | [7 empty] | 138 |  | -800 | 6.2383 | 17.5176
139 | [7 empty] | 139 |  | -750 | 6.6362 | -11.7304 | 70
140 | [7 empty] | 140 |  | -700 | 7.0868 | 17.5176
141 | [7 empty] | 141 |  | -650 | 7.6012 | -11.7304 | 71
142 | [7 empty] | 142 |  | -600 | 8.1933 | 17.5176
143 | [7 empty] | 143 |  | -550 | 8.8814 | -11.7304 | 72
144 | [7 empty] | 144 |  | -500 | 9.6895 | 17.5176
145 | [7 empty] | 145 |  | -450 | 10.65 | -11.7304 | 73
146 | [7 empty] | 146 |  | -400 | 11.8067 | 17.5176
147 | [7 empty] | 147 |  | -350 | 13.2199 | -11.7304 | 74
148 | [7 empty] | 148 |  | -300 | 14.9734 | 17.5176
149 | [7 empty] | 149 |  | -250 | 17.1821 | -11.7304 | 75
150 | [7 empty] | 150 |  | -200 | 20 | 17.5176
151 | [7 empty] | 151 |  | -150 | 23.6134 | -11.7304 | 76
152 | [7 empty] | 152 |  | -100 | 28.1933 | 17.5176
153 | [7 empty] | 153 |  | -50 | 33.7617 | -11.7304 | 77
154 | [7 empty] | 154 |  | 0 | 40 | 17.5176
155 | [7 empty] | 155 |  | 50 | 33.7617 | -11.7304 | 78
156 | [7 empty] | 156 |  | 100 | 28.1933 | 17.5176
157 | [7 empty] | 157 |  | 150 | 23.6134 | -11.7304 | 79
158 | [7 empty] | 158 |  | 200 | 20 | 17.5176
159 | [7 empty] | 159 |  | 250 | 17.1821 | -11.7304 | 80
160 | [7 empty] | 160 |  | 300 | 14.9734 | 17.5176
161 | [7 empty] | 161 |  | 350 | 13.2199 | -11.7304 | 81
162 | [7 empty] | 162 |  | 400 | 11.8067 | 17.5176
163 | [7 empty] | 163 |  | 450 | 10.65 | -11.7304 | 82
164 | [7 empty] | 164 |  | 500 | 9.6895 | 17.5176
165 | [7 empty] | 165 |  | 550 | 8.8814 | -11.7304 | 83
166 | [7 empty] | 166 |  | 600 | 8.1933 | 17.5176
167 | [7 empty] | 167 |  | 650 | 7.6012 | -11.7304 | 84
168 | [7 empty] | 168 |  | 700 | 7.0868 | 17.5176
169 | [7 empty] | 169 |  | 750 | 6.6362 | -11.7304 | 85
170 | [7 empty] | 170 |  | 800 | 6.2383 | 17.5176
171 | [7 empty] | 171 |  | 850 | 5.8847 | -11.7304 | 86
172 | [7 empty] | 172 |  | 900 | 5.5684 | 17.5176
173 | [7 empty] | 173 |  | 950 | 5.2838 | -11.7304 | 87
174 | [7 empty] | 174 |  | 1000 | 5.0266 | 17.5176
175 | [7 empty] | 175 |  | -500 | 9.6895 | -11.7304 | 88
176 | [7 empty] | 176 |  | 0 | 40 | 17.5176
177 | [7 empty] | 177 |  | 500 | 9.6895 | -11.7304 | 89
178 | [7 empty] | 178 | 0 | 0 | 40 | 17.5176
179 | [11 empty] | -11.5793 | 90
180 | [11 empty] | 13.9958
181 | [11 empty] | -11.5793 | 91
182 | [11 empty] | 13.9958
183 | [11 empty] | -11.5793 | 92
184 | [11 empty] | 13.9958
185 | [11 empty] | -11.5793 | 93
186 | [11 empty] | 13.9958
187 | [11 empty] | -11.5793 | 94
188 | [11 empty] | 13.9958
189 | [11 empty] | -11.5793 | 95
190 | [11 empty] | 13.9958
191 | [11 empty] | -11.5793 | 96
192 | [11 empty] | 13.9958
193 | [11 empty] | -11.5793 | 97
194 | [11 empty] | 13.9958
195 | [11 empty] | -11.5793 | 98
196 | [11 empty] | 13.9958
197 | [11 empty] | -11.5793 | 99
198 | [11 empty] | 13.9958
199 | [11 empty] | -11.5793 | 100
200 | [11 empty] | 13.9958
[12 empty] | -11.5793 | 101
13.9958
[12 empty] | -11.5793 | 102
13.9958
[12 empty] | -11.5793 | 103
13.9958
[12 empty] | -11.5793 | 104
13.9958
[12 empty] | -11.5793 | 105
13.9958
[12 empty] | -11.5793 | 106
13.9958
[12 empty] | -11.5793 | 107
13.9958
[12 empty] | -11.5793 | 108
13.9958
[12 empty] | -11.5793 | 109
13.9958
[12 empty] | -11.5793 | 110
13.9958
[12 empty] | -11.5793 | 111
13.9958
[12 empty] | -11.5793 | 112
13.9958
[12 empty] | -11.5793 | 113
13.9958
[12 empty] | -11.5793 | 114
13.9958
[12 empty] | -11.5793 | 115
13.9958
[12 empty] | -11.5793 | 116
13.9958
[12 empty] | -11.5793 | 117
13.9958
[12 empty] | -11.5793 | 118
13.9958
[12 empty] | -11.5793 | 119
13.9958
[12 empty] | -11.5793 | 120
13.9958
[12 empty] | -11.5793 | 121
13.9958
[12 empty] | -11.5793 | 122
13.9958
[12 empty] | -11.5793 | 123
13.9958
[12 empty] | -11.5793 | 124
13.9958
[12 empty] | -11.5793 | 125
13.9958
[12 empty] | -11.5793 | 126
13.9958
[12 empty] | -11.5793 | 127
13.9958
[12 empty] | -11.5793 | 128
13.9958
[12 empty] | -11.5793 | 129
13.9958
[12 empty] | -11.5793 | 130
13.9958
[12 empty] | -11.5793 | 131
13.9958
[12 empty] | -11.5793 | 132
13.9958
[12 empty] | -11.5793 | 133
13.9958
[12 empty] | -11.4256 | 134
11.497
[12 empty] | -11.4256 | 135
11.497
[12 empty] | -11.4256 | 136
11.497
[12 empty] | -11.4256 | 137
11.497
[12 empty] | -11.4256 | 138
11.497
[12 empty] | -11.4256 | 139
11.497
[12 empty] | -11.4256 | 140
11.497
[12 empty] | -11.4256 | 141
11.497
[12 empty] | -11.4256 | 142
11.497
[12 empty] | -11.4256 | 143
11.497
[12 empty] | -11.4256 | 144
11.497
[12 empty] | -11.4256 | 145
11.497
[12 empty] | -11.4256 | 146
11.497
[12 empty] | -11.4256 | 147
11.497
[12 empty] | -11.4256 | 148
11.497
[12 empty] | -11.4256 | 149
11.497
[12 empty] | -11.4256 | 150
11.497
[12 empty] | -11.4256 | 151
11.497
[12 empty] | -11.4256 | 152
11.497
[12 empty] | -11.4256 | 153
11.497
[12 empty] | -11.4256 | 154
11.497
[12 empty] | -11.4256 | 155
11.497
[12 empty] | -11.4256 | 156
11.497
[12 empty] | -11.4256 | 157
11.497
[12 empty] | -11.4256 | 158
11.497
[12 empty] | -11.4256 | 159
11.497
[12 empty] | -11.4256 | 160
11.497
[12 empty] | -11.4256 | 161
11.497
[12 empty] | -11.4256 | 162
11.497
[12 empty] | -11.4256 | 163
11.497
[12 empty] | -11.4256 | 164
11.497
[12 empty] | -11.4256 | 165
11.497
[12 empty] | -11.4256 | 166
11.497
[12 empty] | -11.4256 | 167
11.497
[12 empty] | -11.4256 | 168
11.497
[12 empty] | -11.4256 | 169
11.497
[12 empty] | -11.4256 | 170
11.497
[12 empty] | -11.4256 | 171
11.497
[12 empty] | -11.4256 | 172
11.497
[12 empty] | -11.4256 | 173
11.497
[12 empty] | -11.4256 | 174
11.497
[12 empty] | -11.4256 | 175
11.497
[12 empty] | -11.4256 | 176
11.497
[12 empty] | -11.4256 | 177
11.497
[12 empty] | -12.0248 | 178
1000

## 15N R2 dispersion
1H
90 pulse | 10 | μs (p1) | -8.58 | dB (pl1)
decouple | 16.6667 | μs (p26) | -4.143 | dB (pl19)
Sinc1.1000 | 1000 | μs (p11) | 26.8208 | dB (sp1)
13C
Crp60,0.5,20.1 | 500 | μs (p8) | -14.1627 | dB (sp13)
15N
90 pulse | 40 | μs (p21) | -18.4 | dB (pl3)
decouple | 170 | μs (pcpd3) | -5.8322 | dB (pl16)
TCPMG | 20 | ms (d20) |  | 30 | ms (d20) |  | 40 | ms (d20) |  | 50 | ms (d20)
| CPMG loop | τCP | 1/τCP | CPMG loop | τCP | 1/τCP | CPMG loop | τCP | 1/τCP | CPMG loop | τCP | 1/τCP
# | l2,vclist | ms | s-1 | l2,vclist | ms | s-1 | l2,vclist | ms | s-1 | l2,vclist | ms | s-1
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 1 | 10 | 100 | 1 | 15 | 66.6667 | 1 | 20 | 50 | 1 | 25 | 40
3 | 2 | 5 | 200 | 2 | 7.5 | 133.3333 | 2 | 10 | 100 | 2 | 12.5 | 80
4 | 3 | 3.3333 | 300 | 3 | 5 | 200 | 3 | 6.6667 | 150 | 3 | 8.3333 | 120
5 | 4 | 2.5 | 400 | 4 | 3.75 | 266.6667 | 4 | 5 | 200 | 4 | 6.25 | 160
6 | 5 | 2 | 500 | 5 | 3 | 333.3333 | 6 | 3.3333 | 300 | 6 | 4.1667 | 240
7 | 6 | 1.6667 | 600 | 6 | 2.5 | 400 | 8 | 2.5 | 400 | 8 | 3.125 | 320
8 | 7 | 1.4286 | 700 | 8 | 1.875 | 533.3333 | 11 | 1.8182 | 550 | 12 | 2.0833 | 480
9 | 8 | 1.25 | 800 | 10 | 1.5 | 666.6667 | 14 | 1.4286 | 700 | 14 | 1.7857 | 560
10 | 10 | 1 | 1000 | 12 | 1.25 | 800 | 17 | 1.1765 | 850 | 16 | 1.5625 | 640
11 | 12 | 0.83333 | 1200 | 14 | 1.0714 | 933.3333 | 20 | 1 | 1000 | 18 | 1.3889 | 720
12 | 14 | 0.71429 | 1400 | 16 | 0.9375 | 1066.6667 | 25 | 0.8 | 1250 | 24 | 1.0417 | 960
13 | 16 | 0.625 | 1600 | 20 | 0.75 | 1333.3333 | 30 | 0.66667 | 1500 | 32 | 0.78125 | 1280
14 | 18 | 0.55556 | 1800 | 25 | 0.6 | 1666.6667 | 35 | 0.57143 | 1750 | 41 | 0.60976 | 1640
15 | 20 | 0.5 | 2000 | 30 | 0.5 | 2000 | 40 | 0.5 | 2000 | 50 | 0.5 | 2000
16 | 3 | 3.3333 | 300 | 5 | 3 | 333.3333 | 6 | 3.3333 | 300 | 3 | 8.3333 | 120
17 | 10 | 1 | 1000 | 16 | 0.9375 | 1066.6667 | 20 | 1 | 1000 | 24 | 1.0417 | 960
18 | 20 | 0.5 | 2000 | 30 | 0.5 | 2000 | 40 | 0.5 | 2000 | 50 | 0.5 | 2000
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## 1HN R2 dispersion
1H
90 pulse | 10 | μs (p1) | -8.58 | dB (pl1)
Sinc1.1000 | 1000 | μs (p11) | 26.8208 | dB (sp1)
Reburp.1000 | 3000 | μs (p12) | 12.983 | dB (sp12)
13C
Crp60,0.5,20.1 | 500 | μs (p8) | -14.1627 | dB (sp13)
15N
90 pulse | 40 | μs (p21) | -18.4 | dB (pl3)
decouple | 170 | μs (pcpd3) | -5.8322 | dB (pl16)
TCPMG | 20 | ms (d20) |  | 30 | ms (d20) |  | 40 | ms (d20) |  | 50 | ms (d20)
| CPMG loop | τCP | 1/τCP | CPMG loop | τCP | 1/τCP | CPMG loop | τCP | 1/τCP | CPMG loop | τCP | 1/τCP
# | l2,vclist | ms | s-1 | l2,vclist | ms | s-1 | l2,vclist | ms | s-1 | l2,vclist | ms | s-1
1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
2 | 1 | 5 | 200 | 1 | 7.5 | 133.3333 | 1 | 10 | 100 | 1 | 12.5 | 80
3 | 2 | 2.5 | 400 | 2 | 3.75 | 266.6667 | 2 | 5 | 200 | 2 | 6.25 | 160
4 | 3 | 1.6667 | 600 | 3 | 2.5 | 400 | 3 | 3.3333 | 300 | 3 | 4.1667 | 240
5 | 4 | 1.25 | 800 | 4 | 1.875 | 533.3333 | 4 | 2.5 | 400 | 4 | 3.125 | 320
6 | 5 | 1 | 1000 | 5 | 1.5 | 666.6667 | 6 | 1.6667 | 600 | 6 | 2.0833 | 480
7 | 6 | 0.83333 | 1200 | 6 | 1.25 | 800 | 8 | 1.25 | 800 | 8 | 1.5625 | 640
8 | 7 | 0.71429 | 1400 | 8 | 0.9375 | 1066.6667 | 11 | 0.90909 | 1100 | 12 | 1.0417 | 960
9 | 8 | 0.625 | 1600 | 10 | 0.75 | 1333.3333 | 14 | 0.71429 | 1400 | 14 | 0.89286 | 1120
10 | 10 | 0.5 | 2000 | 12 | 0.625 | 1600 | 17 | 0.58824 | 1700 | 16 | 0.78125 | 1280
11 | 12 | 0.41667 | 2400 | 14 | 0.53571 | 1866.6667 | 20 | 0.5 | 2000 | 18 | 0.69444 | 1440
12 | 14 | 0.35714 | 2800 | 16 | 0.46875 | 2133.3333 | 25 | 0.4 | 2500 | 24 | 0.52083 | 1920
13 | 16 | 0.3125 | 3200 | 20 | 0.375 | 2666.6667 | 30 | 0.33333 | 3000 | 32 | 0.39062 | 2560
14 | 18 | 0.27778 | 3600 | 25 | 0.3 | 3333.3333 | 35 | 0.28571 | 3500 | 41 | 0.30488 | 3280
15 | 20 | 0.25 | 4000 | 30 | 0.25 | 4000 | 40 | 0.25 | 4000 | 50 | 0.25 | 4000
16 | 3 | 1.6667 | 600 | 5 | 1.5 | 666.6667 | 6 | 1.6667 | 600 | 3 | 4.1667 | 240
17 | 10 | 0.5 | 2000 | 16 | 0.46875 | 2133.3333 | 20 | 0.5 | 2000 | 24 | 0.52083 | 1920
18 | 20 | 0.25 | 4000 | 30 | 0.25 | 4000 | 40 | 0.25 | 4000 | 50 | 0.25 | 4000
19 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0

## CLEANEX-PM
1H
90 pulse | 10 | μs (p1) | -8.58 | dB (pl1)
CLEANEX-PM | 50 | μs (p10) | 5.3994 | dB (pl27)
Gaus1_180r.1000 | 7500 | μs (p7) | 35.1897 | dB (sp21)
13C
Crp60,0.5,20.1 | 500 | μs (p8) | -14.1627 | dB (sp13)
15N
90 pulse | 40 | μs (p21) | -18.4 | dB (pl3)
decouple | 170 | μs (pcpd3) | -5.8322 | dB (pl16)

## 15N CEST
1H
90 pulse | 10 | μs (p1) | -8.58 | dB (pl1)
decouple | 71.43 | μs (pcpd1) | 8.4976 | dB (pl19)
Bip720,50,20.1 | 170 | μs (p44) | -2.0328 | dB (sp30)
13C
Crp60,0.5,20.1 | 500 | μs (p8) | -14.1627 | dB (sp13)
15N
90 pulse | 40 | μs (p21) | -18.4 | dB (pl3)
decouple | 170 | μs (pcpd3) | -5.8322 | dB (pl16)
15N irradiation
15N SW / Hz | 2341.581
N points | 60
increment / Hz/point | 39.6878
fq3list
# | hz sfo
1 | -1170.7905
2 | -1131.1027
3 | -1091.4149
4 | -1051.7271
5 | -1012.0392
6 | -972.3514
7 | -932.6636
8 | -892.9758
9 | -853.288
10 | -813.6002
11 | -773.9124
12 | -734.2246
13 | -694.5367
14 | -654.8489
15 | -615.1611
16 | -575.4733
17 | -535.7855
18 | -496.0977
19 | -456.4099
20 | -416.722
21 | -377.0342
22 | -337.3464
23 | -297.6586
24 | -257.9708
25 | -218.283
26 | -178.5952
27 | -138.9073
28 | -99.2195
29 | -59.5317
30 | -19.8439
31 | 19.8439
32 | 59.5317
33 | 99.2195
34 | 138.9073
35 | 178.5952
36 | 218.283
37 | 257.9708
38 | 297.6586
39 | 337.3464
40 | 377.0342
41 | 416.722
42 | 456.4099
43 | 496.0977
44 | 535.7855
45 | 575.4733
46 | 615.1611
47 | 654.8489
48 | 694.5367
49 | 734.2246
50 | 773.9124
51 | 813.6002
52 | 853.288
53 | 892.9758
54 | 932.6636
55 | 972.3514
56 | 1012.0392
57 | 1051.7271
58 | 1091.4149
59 | 1131.1027
60 | 1170.7905

## T1T2NOE
1H
90 pulse | 10 | μs (p1) | -8.58 | dB (pl1)
Bip720,50,20.1 | 170 | μs (p44) | -2.0328 | dB (sp30)
13C
Crp60,0.5,20.1 | 500 | μs (p8) | -14.1627 | dB (sp13)
15N
90 pulse | 40 | μs (p21) | -18.4 | dB (pl3)
decouple | 170 | μs (pcpd3) | -5.8322 | dB (pl16)